## Slide 1: Decoupled and Fast decoupled

## Slide 2: Decoupled method
Form N-R method, [B] = [J][Δx]
Consider a 3 bus power system network as shown for the
network = *

## Slide 3
Assumption for decoupled method
Active power is clearly associated with power angle and less associated with voltage magnitude i.e. dP/dδ ≠ 0 but dP/dV ≈ 0.
Reactive power is clearly associated with voltage magnitude and less associated with power angle i.e. dQ/dV ≠ 0 but dQ/dδ ≈ 0.
so above equation, = *

## Slide 4
Rearranging above equation. *
` *
So, these above two equation is called decoupled matrix equation.

## Slide 5: Fast decoupled method
Additional assumption to decoupled method
Difference between phase angle of two buses is very small. i.e. if i and j are two buses then δi – δj = 0.
so cos(δi – δj )=1 and sin(δi – δj )≈ 0
2) Voltage magnitude on each bus is nearly equal to 1 p.u.
3) A transmission has higher reactance compared to reactance of line. So R ≈ 0.
4) Reactive power at normal case Qk is much smaller than reactive power when all the lines connected to bus k are short circuited ( (Vk)2Bkk ) where Bkk is self susceptance of bus k
i.e Qk << Vk2Bkk so Qk is neglected in some cases.

## Slide 6
As, Bij =Yi j * sin θi j and substituting δi – δj = 0 we get
+ Y22 V22 sinɵ22 - Y22 V22 sinɵ22
= - Q2 - Y22 V22 sinɵ22 = -Q2-V22 B22
Since, V22 B22 >>Q2
Hence, = - V22 B22
As, magnitude of V2 ≈1 so, V22 ≈ V2
Therefore, = -V2 B22
Similarly,
= - V3 V2 B32
= - V3 B33

## Slide 7
Then decoupled matrix equation becomes,
*
If we consider V3 = 1 in first row and V2= 1 in second row and arranging, we get
*
This is the most simplified equation
Similarly, proceeding the same method for reactive method we get
*
This equation is the most simplified decoupled matrix equation to determine the voltage magnitude.

## Slide 8: Q. Write down the algorithm and flowchart for fast decoupled load flow analysis.
.

## Slide 9: Q.

## Slide 14: FDPF Three Bus Example
Use the FDPF to solve the following three bus system

## Slide 20: Q. Write down comparison chart between gauss-siedal, newton Raphson and fast decoupled method for load flow analysis.