## Slide 1: Unit 4
Starting of Electric Motors

## Slide 2: Effects of starting motors on power supply
Transient processes that occur in drive system are starting, braking, speed control and reversal of direction of rotation.
Starting of electric drive involves a change in its state from rest to a steady state of rotation during which motor draws very high current (many times higher than full load current).
The high current drawn has following effects:
1. Voltage drop in the supply.
2. Excessive current drawn may damage the windings of the motor.
3. Mechanical damage to the connected load through too rapid acceleration

## Slide 3: Necessity of starting equipment
The effects are negligible in case of small motors but in case of higher rating motors the starting current need to be limited.
This limitation of current may be accomplished by reducing the voltage applied to the motor by means of a resistance in series with the motor or by some other suitable means as briefed below:
1. Direct-on-Line Starting or Full-Voltage Starting
2. Reduced-Voltage Starting
3. Starting by Means of Smooth Variation of Voltage or Frequency (Constant V/f method)
4. Starting of AC Commutator Motors

## Slide 4: DC motors

## Slide 10: Starting dynamics of dc drives

## Slide 19: Starting of three phase induction motor
By using primary resistors
Auto transformer method
Star delta starter
Adding resistance in rotor circuit

## Slide 27: By adding resistance in rotor circuit(for slip ring motors)

## Slide 30: Three phase induction motor